## Worksheet 1
Monitoring | Devices | Model | Interval | Accuracy | Location
item |  | (manufacturer) | (minute)
Rainfall | Tipping bucket rain gauges | Rain collector II (Davis instruments) | 1 | 4 % | CC, NC (Fig. 1)
Four radiation components | Net radiometers | CNR 4 (Kipp & Zonen Co.) | 10 | 4 % | CCS, NCS
Air temperature | Thermo-hygrographs | Hobo Pro v2 U23 (Onset Co.) | 10 | 0.2 ∘C | CCS, NCS
Ground surface temperature | Temperature data loggers | TidbiT v2 (Onset Co.) | 10 | 0.2 ∘C | All plots
Ground temperature | Thermocouples | – | 10 | 1 ∘C | CCR, NCR
Snow depth | Ultrasonic sensors | U-GAGE T30UXUB (Banner Engineering Corp.) | 10 | 0.25 % | CCR, NCR
Frost heave | Extensometers | DT-100A (Kyo-WA Co.) | 60 | 0.5 % | CCR, NCR
Frost heave, soil creep | Time lapse camera | GardenWatchCam (Brinno) | 10 | – | CCR, NCR